[image: image1.png]g[m[3[5]



[image: image2.png]6D [&

D [ED

15




                  
[image: image3.emf]
[image: image4.png]



[image: image5.emf]
[image: image6.emf][image: image7.jpg]


[image: image8.jpg]48

31

210

24,2

14



                                                                                                                                                      



































































































































































































































































































































Ziya Gökalp Mah. İkitelli Organize Sanayi Bölgesi Atatürk Bulvarı No:50 34490 Başakşehir / İstanbul / TÜRKİYE


Telefon : +90 212 549 22 52


Faks      : +90 212 549 25 80


Web      : www.emasas.com.tr











�


 EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş








Technical Specification : PSA040AK341E





Order Code :


PSA040AK341E 


-3 poles, Safety on-off cam switches.








Contact and Assembly Schema : 








�





-Range of use�
�
AC1 / AC21�
�
-Operating Voltage�
Ue�
400 V �
�
- Fregquency                              �
�
50 Hz�
�
-Termal current�
Ith�
50A�
�
- Operating Current�
Ie�
40A�
�
- Insulation voltage              �
Ui�
690 V�
�
- Stroke resistance voltage     �
Uimp�
4 kV�
�
- Short circuit breaking capacity�
Icn�
6 kA�
�
- Insulation Resistance�
�
min 10MΩ�
�






General Specification: 








Electrical Informations  :





-Operating Temparature               �
-5 / +40 °C�
�
-Mechnical Life �
100.000 (900 op/hour)�
�
-Electrical Life                                  �
50.000  (450 op/hour)�
�
-Protection Degree�
IP20 outside board


IP54 inside board


IP65 inside box�
�
 





-High precision�
�
-Long life time�
�
-High contact reliability�
�
-Compact design�
�
-Handle designed in comformity with finger ergonomy�
�






Body :





General Specification : 








Standards : 





-TS EN 60947-3





    � EMBED CorelDRAW.Graphic.14  ���        �    


              


     � EMBED CorelDRAW.Graphic.14  ���         � EMBED CorelDRAW.Graphic.14  ���           





Technical Information :








_1360679356.unknown

_1360679400.unknown

_1360679229.unknown

